ORDINANCE 1375 EXHIBIT A – LEWIS COUNTY CODE 15.05.020 AMENDMENTS

15.05.020 	Adoption of codes.

(1) 	The below listed documents, one copy of each of which is on file in the office of community development of Lewis County, and below designated statutes of the state of Washington are each hereby referred to and adopted and made a part hereof as if fully set forth in this chapter, subject to the amendments thereto as hereinafter provided. The provisions of the below stated codes may be subject to amendment.

(a)	The 2021 Edition of the International Building Code (IBC) includes the 2021 Existing Building Code and International Code Council (ICC)/ANSI A117.1-2017, including Appendix Chapter J (with additions and amendments thereto), as set forth in Chapter 51-50 WAC, with the following additions and amendments, is hereby adopted by reference:

IBC 306.2, Factory Industrial F-1 Moderate-Hazard Occupancy, is amended to include the following additional occupancies:

Marijuana growing of more than 15 plants

Marijuana processing

IBC 312.1, Utility and Miscellaneous Group U, is amended to include the following additional occupancies:

Greenhouses and other structures used for cultivation, protection, or maintenance of plants (including marijuana growing of 15 or fewer plants);

(b) 	The 2021 International Residential Code for One- and Two-Family Dwellings (IRC), including Appendix Chapter G, as set forth in Chapter 51-51 WAC and with the following additions and amendments and references thereto:

IRC, IBC, IFC, Section 105, UPC Section 104 Permits Required

Any owner or owner’s authorized agent who intends to construct, enlarge, Aalter, repair, move, demolish or change the occupancy of a building or structure, or to erect, install, enlarge, remove, convert or replace any electrical, gas, mechanical or plumbing system, the installation of which is regulated by this code, or to cause any such work to be performed, shall first make application to the Building Official and obtain required permit.

IRC R105.2 Work exempt from permit (1) One story detached structures used as tool and storage sheds, playhouses and similar uses, provided that the floor area is not greater than 200 square feet.

(c) 	The 2021 International Mechanical Code (IMC), 2021 International Fuel Gas Code (IFGC) and Adoption of the 2021 National Fuel Gas Code (NFPA 54) and the 2020 Liquefied Petroleum Gas Code (NFPA 58) as set forth in Chapter 51-52 WAC;

(d) 	The 2021 Uniform Plumbing Code (UPC), published by the International Association of Plumbing and Mechanical Officials (IAPMO), including Appendix Chapter K, ARCSA/ANSI 63-2020 along with recommendations from WA Department of Health guidance on Rainwater catchment Systems and Lewis County Public Health Rainwater Catchment Policy (EH-POL-200-5) and Social Services Interim Spring/Surface Water Availability policy (EH-POL-200-4), and adopting Chapter 51-56 WAC, and Plumbing Code Appendices, Chapter 51-57 WAC;

(e) 	The 2021 Washington State Energy Code, as set forth in Chapters 51-11C and 51-11R WAC, the Washington State Ventilation and Indoor Air Quality Code, as set forth in Chapter 51-13 WAC, and the Washington State Historic Building Code, as set forth in Chapter 51-19 WAC; and with the following additions and amendments and references thereto: Initiative No. 2066 Sec.10 states that a county shall not in any way prohibit, penalize, or discourage the use of gas for any form of heating, or for uses to any appliance or equipment in any building. The use of gas is permitted in other adopted codes such as IRC, IFC, and IECC. The use of gas shall be allowed until state regulations are amended to address the natural gas restriction repealed by initiative No. 2066;

(f) 	The 2021 International Fire Code, published by ICC, as set forth in Chapter 51-54A WAC; and specifically Section 307, as published by the International Code Council and as amended by WAC 51-54A-307 et seq., and with the following additions and amendments and references thereto, and specifically county road and access standards under Chapter 12.60 LCC, is hereby adopted by reference:

[NO FURTHER CHANGES TO 15.05.020]